## Slide 1: 2024 Single Cell Workshop Colombia: Day 5- 10X downstream, QC results, sequencing, and lessons learned
July 12-15, 2024
Bogota, Colombia

## Slide 2
Steps from yesterday
Recovery beads post-incubation
pre-amplification PCR
Spri clean up
Sample indexing + PCR
Spri clean up
Library QC
Honeycomb CLX
10X Genomics
Post-library prep spri clean up
QC

## Slide 3: Wednesday: Chromium Fixed RNA Profiling GEM Generation

## Slide 4: Yesterday: Pre-Amplification, Library prep

## Slide 5: Tape Station Expected Results (from protocols)

## Slide 6: 10X Fixed protocol representative tape (from protocol)

## Slide 7: Honeycomb CLX protocol representative tape (from protocol)

## Slide 8: What did we do this week?

## Slide 9: Overview single cell workflow
mRNA Capture
1st & 2nd Strand Synthesis
WTA (PCR)
Library Prep
Sample Preparation

## Slide 10: Honeycomb Overview

## Slide 11: Cell Fixation for 10X

## Slide 12: 10X Fixed RNA Protocol

## Slide 13: Sequencing Considerations

## Slide 14: Protocol specific factors: read structure and sequencing depth
10X Fixed RNA
Honeycomb CLX

## Slide 15
~ 500M Reads
~20M reads
MiSeq
NextSeq 500
NextSeq 2000
NovaSeq
~ 1.2B Reads
~ 6, 10 or 25B Reads
Price
Sequencers

## Slide 16: Sequencing considerations: choosing a sequencer
  What type of sequencer do you have access to?
  What is your budget?
  How many samples do you have that can be sequenced together? (remember indexes and read structure)
  How many reads do you need?

## Slide 17: How do I pool my samples?
1. Decide which samples you are pooling (consider which samples have compatible read structure and indexes)
2. Decide the ratio you want to pool your samples (most commonly pool evenly, but if expecting different cell outputs then pool in proportion)
3. Determine the pool concentration and volume you need for your sequencer (e.g. 5 uL pool at 4nM for NextSeq500)
4. Calculate the current nM concentration for each sample from tape/qubit/BioA
5. Combine samples at determined ratio of moles
6. Tape/qubit/BioA sample
7. Dilute to proper concentration for sequencer
Example:
I have two samples that I want to pool equally for a NextSeq500 run. Sample 1 is at 9 nM and Sample 2 is at 4.5nM. How should I pool?
To make sure I have enough volume to load, I will use 2 uL of my most concentrated sample (Sample 1), I will then add twice as much volume of Sample 2, so 4 uL, because the concentration is half that of Sample 1. I will then QC and dilute to 4nM.

## Slide 18: Lessons from this week!
There is more than one way to do single cell
Cell lines are easier to work with than biopsies
Understanding what is happening in each step of the protocol is very helpful! And helps with troubleshooting!
Even when things don’t look perfect you can still achieve good data- so keep going!
You can do single cell!

## Slide 19: Thanks so much for spending the week with us, we truly enjoyed working with you and hope our paths cross again the in the future! If you have questions or want to talk through experimental plans/idea/questions, please feel free to contact us! Everyone you met from the Shalek Lab has their contact info up to date on https://shaleklab.com/team/nucleus/

## Slide 21: Sequencing